## WSFU
Water Supply Fixture Unit Worksheet for New Construction Accessory Dwelling Units
INSTRUCTIONS: PLEASE FILL IN CELLS IN GREEN AS THEY APPLY TO YOUR ADU PROJECT
Project Address: | [5 empty] | Detached or Attached? | [6 empty] | Requested Meter Size |  | inch
Name: | [5 empty] | ADU ft²
| APPLIANCES, APPURTENANCES, OR FIXTURES |  |  | Occupancy | MINIMUM FIXTURE BRANCH PIPE SIZE (inches) |  |  | Net Number of Fixtures Added |  |  | Load Value |  | WSFU
| Bathtub or Combination Bath/Shower (fill) |  |  | Private | 2020-01-02 | [5 empty] | 4 | = | 0
| 3/4 inch Bathtub Fill Valve |  |  | Private | 2020-03-04 | [5 empty] | 10 | = | 0
| Bidet |  |  | Private | 2020-01-02 | [5 empty] | 1 | = | 0
| Clothes Washer |  |  | Private | 2020-01-02 | [5 empty] | 4 | = | 0
| Dishwasher, domestic |  |  | Private | 2020-01-02 | [5 empty] | 1.5 | = | 0
| Drinking Fountain or Water Cooler |  |  | Private | 2020-01-02 | [5 empty] | 0.5 | = | 0
| Hose Bibb |  |  | Private | 2020-01-02 | [5 empty] | 2.5 | = | 0
| Lavatory |  |  | Private | 2020-01-02 | [5 empty] | 1 | = | 0
| Lawn Sprinkler, each head |  |  | Private | --- | [5 empty] | 1 | = | 0
| Mobile Home, each |  |  | Private | --- | [5 empty] | 12 | = | 0
| Sinks |  |  | --- | --- |  |  | --- |  |  | --- | =
| Bar |  |  | Private | 2020-01-02 | [5 empty] | 1 | = | 0
| Kitchen, domestic |  |  | Private | 2020-01-02 | [5 empty] | 1.5 |  | 0
| Laundry |  |  | Private | 2020-01-02 | [5 empty] | 1.5 |  | 0
| Service or Mop Basin |  |  | Private | 2020-01-02 | [5 empty] | 1.5 |  | 0
| Shower Head |  |  | Private | 2020-01-02 | [5 empty] | 2 | = | 0
| Urinal, 1 GPM Flushometer |  |  | Private | 2020-03-04 | [5 empty] | 3 | = | 0
| Urinal, >1 GPM Flushometer |  |  | Private | 2020-03-04 | [5 empty] | 4 | = | 0
| Urinal, Flush Tank |  |  | Private | 2020-01-02 | [5 empty] | 2 | = | 0
| Water closet, 1.6 GPF Gravity Tank |  |  | Private | 2020-01-02 | [5 empty] | 2.5 | = | 0
| Water closet, 1.6 GPF Flushometer Tank |  |  | Private | 2020-01-02 | [5 empty] | 2.5 | = | 0
| Water closet, 1.6 GPF Flushometer Valve |  |  | Private | 1 | [5 empty] | 5 | = | 0
| Water closet, > 1.6 GPF Gravity Tank |  |  | Private | 2020-01-02 | [5 empty] | 3 | = | 0
| Water closet, > 1.6 GPF Flushometer Valve |  |  | Private | 1 | [5 empty] | 7 | = | 0
| Other |  |  | Private | [7 empty] | = | 0
[9 empty] | Total Added WSFU: |  |  |  | 0
LPVCWD Use Only
The application is: |  | Approved |  |  |  |  | Not Approved |  |  | > 1,200 sq. ft
Reviewer's Name: | [5 empty] | Date: |  |  |  | > 50% of existing home |  |  |  | Total WSFU above the limit
[10 empty] | Single Family Home |  |  |  | Other
Rev. Date: August 2021

## Definitions
DEFINITIONS
Small Existing Service- 2-inch and smaller diameter existing water service is classified as a small existing service.
Full-bath Group (Flush Tank) - 1 Tank Toilet, 1 Bathroom Sink and either 1 shower, 1 tub or 1 shower/tub combination.
Full-bath Group (Flushometer Valve)- 1 Flushometer Toilet, 1 Bathroom Sink and either 1 shower, 1 tub or 1 shower/tub combination.
Half-bath Group (Flush Tank)- 1 Tank Toilet and 1 Bathroom Sink
Bathtub / Shower Combination- This fixture has a bathtub as the basin base with a bath shower atop it and is located in PRIVATE space. This fixture can only use either the tub faucet OR the shower head. Not both at the same time.
Combination Fixture- This fixture combines the functions of a sink and a toilet into a single fixture and is located in PRIVATE space.
Water Closet (Tank Toilet)- This is a toilet that has a tank on the back that holds water. If there is no tank the fixture is called a Flushometer Valve toilet.
Water Closet (Flushometer Valve)- This type of toilet has no tank to store the water on the back. The water pipe comes directly out of the wall and fills the bowl.
Water Closet (Flushometer Tank)- This fixture combines a Flushometer Valve with a tank. The valve allows a certain amount of water to fill the tank quickly at a high rate.
Laundry Tub- A sink located in a laundry room or utility room.
Hose Bibs (ALL Public and Private Bibs)- An outside faucet.
Urinal (1" Flushometer Valve)- A bathroom urinal located in PUBLIC space with a 1" valve.
Urinal (3/4" Flushometer Valve)- A bathroom urinal located in PUBLIC space with a 3/4" valve.
Urinal (Flush Tank)- A bathroom urinal located in PUBLIC space with a tank.

## ref (hidden)
Detached | 5/8"
Attached | 3/4"
1"
1.5"